## Slide 1
REACT PROJECT
Renewable Energy for self-sustAinable island CommuniTies
Dr. Stergios Vakalis (Assistant Professor)
Energy Management Laboratory, Low Carbon Energy Technologies
Department of Environment, University of the Aegean

## Slide 2: Energy mix in Greece
24-2-2002
Chart: Energy Sources - Greece
| March 2013 | 15/02 | 16/02 | 17/02 | 18/02 | 19/02 | 20/02 | 21/02 | 22/02 | 23/02
Lignite | 0.39089 | 0.11012 | 0.10378 | 0.11082 | 0.092309 | 0.07397 | 0.06681 | 0.089541 | 0.1023 | 0.096397
Natural Gas | 0.16389 | 0.52396 | 0.4989 | 0.45966 | 0.38276 | 0.39096 | 0.31093 | 0.36059 | 0.32245 | 0.27749
Hydro | 0.24656 | 0.047705 | 0.042921 | 0.041939 | 0.053342 | 0.047625 | 0.054211 | 0.058819 | 0.065455 | 0.049193
VRE | 0.1908 | 0.07289 | 0.1836 | 0.10512 | 0.24253 | 0.14573 | 0.2657 | 0.18471 | 0.22485 | 0.39928
Other | 0.0078675 | 0.24533 | 0.17079 | 0.28246 | 0.22905 | 0.34172 | 0.30235 | 0.30634 | 0.28495 | 0.17765

## Slide 3: Energy production in islands
The production is mainly done by Diesel and HFO engines
RES have modest penetration
The price of electricity production can be up to 400% more in comparison to the mainland
Chart: % RES penetration
| Karpathos | Kos | Lesvos | Limnos | Patmos | Rhodes | Samos
 | 0.1242 | 0.1123 | 0.1359 | 0.1085 | 0.1556 | 0.1435 | 0.2307
The Greek National Plan is to connect most islands with the mainland grid

## Slide 4: Green Energy Transition Islands (examples)
*Non – Interconnected Islands
The non-interconnected islands are planned to become green islands and smart islands
  RES installations
  E-mobility
  Energy storage
  District heating
  Smart monitoring

## Slide 5: The REACT project
Renewable Energy for Self-Sustainable Island Communities
24 Partners, 11 EU countries, 8 different islands
Installation of RES in residential & public buildings
Smart – use with energy meters and a demand/ response software

## Slide 6: REACT project – short video

## Slide 7: The REACT pilot islands
3 islands were selected to be pilot islands for the project
  Inis Mor, San Pietro and La Graziosa
We installed RES in residential and public buildings
We connected smart / online meters for 24/7 monitoring
We developed a dedicated software for optimal use of home devices
Lesvos - Gotland - Mallorca –
La Reunion – Isle of Wight

## Slide 8: Pilot island – Inis Mor
PV panels
Batteries
Hydrogen

## Slide 9: Power – to – Hydrogen

## Slide 10: Online monitoring/ Smartphone App
A short presentation of the Smartphone App (will be available in App Store and
Google Play) will be done at 16.45!

## Slide 11
The REACT solution

## Slide 12
THANK YOU FOR YOUR ATTENTION
vakalis@aegean.gr
Prof. Stergios Vakalis (Assistant Professor)
Energy Management Laboratory, Low Carbon Energy Technologies
Department of Environment, University of the Aegean